COMPUTER SYSTEM VALIDATION

IQ / OQ / PQ Protocol — BLOOD Study LIMS

Document reference: VAL-BLOOD-LIMS-001    |    Version: 0.1 (DRAFT — to be completed and approved before use)

Applicable regulation: 21 CFR Part 11 / EU Annex 11, per GAMP5 risk-based approach.

Study: BLOOD (diabetes clinical trial, blood test result management)

# 1. Purpose and Scope

This protocol documents the Installation Qualification (IQ), Operational Qualification (OQ) and Performance Qualification (PQ) of the BLOOD Study LIMS, a Streamlit-based application used to manage blood test results for a sponsor-led diabetes clinical trial, from sample reception through CDISC SDTM export.

This is a starter template. Before use for a real study, each section below must be completed, reviewed and formally approved by the roles identified in Section 7.

# 2. System Description

- Application: Python / Streamlit, single-tenant, role-based access (LAB_TECH, BIOLOGIST, PHYSICIAN, CRO, SPONSOR).

- Database: SQLite (file-based) — see Section 8 for known limitations and recommended evolution path.

- Hosting: Streamlit Community Cloud (or equivalent), source-controlled via GitHub.

- Key functions: CSV ingestion with pre-write validation, sample barcode issuance and scanning, two-level result validation (technical + biological e-signature), automated reminder e-mails, CDISC SDTM (LB, DM) and Define-XML export, append-only audit trail.

# 3. Installation Qualification (IQ)

Verifies the system is installed/deployed as specified.

| Check | Expected result | Actual result | Pass/Fail | Verified by / Date |
| --- | --- | --- | --- | --- |
| Repository deployed | App boots on Streamlit Cloud with no import errors |  |  |  |
| requirements.txt installed | All listed package versions installed without conflict |  |  |  |
| packages.txt applied | libzbar0 present (camera barcode scan available) |  |  |  |
| Database schema created | schema.sql executes without error on first boot |  |  |  |
| Schema migrations | migrations.py brings a pre-existing DB to current version without data loss |  |  |  |
| Demo accounts present / replaced | Default demo passwords rotated before go-live |  |  |  |
| Secrets configured | SMTP secrets set in Streamlit Cloud (if automation enabled) |  |  |  |

# 4. Operational Qualification (OQ)

Verifies each function performs as intended, independent of clinical data load.

## 4.1 Access control & account security

| Test case | Steps | Expected result | Pass/Fail |
| --- | --- | --- | --- |
| Role-based page access | Log in as each role | Only permitted pages appear in navigation |  |
| Login lockout | Enter wrong password 5x | Account locked for the configured duration |  |
| Inactive account blocked | Deactivate a user, attempt login | Login refused with clear message |  |
| Forced password change | Admin resets a password | User is forced to set a new password before accessing any page |  |
| Self-service reset | Use 'Forgot password', follow the emailed link | Password updated, link cannot be reused, expires after configured time |  |
| Session timeout | Leave session idle past timeout | Session ends, re-authentication required |  |

## 4.2 Sample & barcode workflow

| Test case | Steps | Expected result | Pass/Fail |
| --- | --- | --- | --- |
| Barcode auto-assignment | Ingest a CSV creating a new sample | barcode_value populated automatically |  |
| Label generation | Generate a label sheet for a sample | PDF downloads, sample marked label_printed |  |
| Scan via USB | Focus scan field, scan a physical label | Sample and chain of custody displayed instantly |  |
| Scan via camera | Take a photo of a barcode | Barcode decoded and sample located |  |

## 4.3 Validation workflow & e-signature

| Test case | Steps | Expected result | Pass/Fail |
| --- | --- | --- | --- |
| CSV pre-validation | Upload a CSV with a missing/invalid field | Import blocked entirely, errors listed, nothing written |  |
| Technical validation selection | Validate only a subset of PENDING results | Only the selected result_ids move to TECHNICAL_OK |  |
| Biological signature selection | Sign only a subset of TECHNICAL_OK results | Only the selected result_ids move to REVIEWED; others unaffected |  |
| Signature meaning captured | Complete a biological signature | signature_reason stored and visible on the record |  |
| Wrong password on signature | Attempt signature with incorrect password | Signature refused, failure logged in audit trail |  |

## 4.4 Audit trail & exports

| Test case | Steps | Expected result | Pass/Fail |
| --- | --- | --- | --- |
| Audit immutability | Attempt SQL UPDATE/DELETE on AUDIT_TRAIL directly | Rejected by trg_audit_no_update / trg_audit_no_delete |  |
| SDTM LB export | Export LB domain | CSV matches expected structure/values for a known sample dataset |  |
| SDTM DM export | Export DM domain | One row per subject, AGE computed correctly |  |
| Define-XML | Download define.xml | Well-formed XML, opens without error in an XML viewer |  |
| Automated reminders | Simulate ingestion overdue / critical value pending | Reminder e-mail sent once, not duplicated within throttle window |  |

# 5. Performance Qualification (PQ)

Verifies the system performs as intended under real (or realistic simulated) operating conditions, with actual users and representative data volumes.

| Check | Acceptance criterion | Result | Pass/Fail |
| --- | --- | --- | --- |
| End-to-end run | A full weekly cycle (ingestion -> technical -> biological -> export) completed by real intended users without support intervention |  |  |
| Data volume | Import of a full-size weekly file (state the expected row count: ______) completes within an acceptable time (state target: ______) |  |  |
| Concurrent use | Expected number of simultaneous users (state: ______) can work without errors or data loss |  |  |
| User acceptance | Each role signs off that the workflow matches their real operating procedure |  |  |

# 6. Deviations

Log any deviation from expected results found during IQ/OQ/PQ here, with root cause and resolution, before final approval.

| # | Description | Root cause | Resolution | Closed by / date |
| --- | --- | --- | --- | --- |

# 7. Approval

This validation protocol and its results are approved by:

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Prepared by (QA / Data Manager) |  |  |  |
| Reviewed by (CRO representative) |  |  |  |
| Approved by (Sponsor representative) |  |  |  |

# 8. Known Limitations to Disclose to the Approver

- SQLite is file-based and suited to single-instance, low-concurrency use. Migrate to PostgreSQL before scaling to multi-site heavy concurrent use.

- Automated e-mail reminders trigger on page load, not on a true server-side schedule (no cron on the free Streamlit Cloud tier).

- The generated Define-XML covers only the LB and DM domains as implemented, and needs completion (CodeLists, MethodDefs, Comments) plus validation with a CDISC conformance tool before regulatory submission.

- No automated backup/retention is configured by default — see Settings > Backup for manual snapshot download; a scheduled off-site backup should be put in place before go-live with real patient data.